## Bronze (n=16)
Laboratory Area | Criteria | What to do | How you will be assessed | Further Information | Links to Sustainable Development Goals
Fume cupboards and biosafety cabinets (BSCs) | Keep doors closed | Communicate to all lab members via inductions, laboratory meetings and via appropriate signage that lab and hallway doors should be kept closed to allow for room ventilation to run as designed, i.e. with slight negative pressure in the lab with respect to the outside corridor. | Evidence that spot checks occur throughout the year and the auditor will review records. Lab users will be interviewed to assess knowledge and understanding as to why the doors should be closed. | This ensures that any contaminants in the lab will be exhausted through the fume hood/BSC and not escape into the hallway. | Links to Sustainable Development Goals: 3, 9, 12
Fume cupboards and biosafety cabinets (BSCs) | Communications about efficient use of fume cupboards/BSCs | Ensure effective communication is in place to encourage energy efficient use of fume cupboards/BSCs. The first step to ensuring fume cupboards and BSCs are kept off or in low-flow is to communicate this to users. | Auditors will look for evidence of mechanisms in place, which should include at least two of the following: • awareness materials such as stickers on fume cupboards • posters in room • training sessions for staff and students • incentive schemes • designation of an individual or individuals as responsible staff for ensuring efficient use. | Items in a fume cupboard should be 150mm (15cm) from the front of the unit. They should also be 25mm (2.5cm) apart from each other and from the walls. There should be no lab coats or other items hanging on the outside of a fume cupboard. This should all be included in training/inductions. If not overseen by your lab, your H&S Officer should be able to provide you with details about fume cupboard/BSC care as well as a departmental maintenance strategy. For a case study on a shut the sash campaign at UC Davis and Santa Barbara see here: [https://www1.eere.energy.gov/femp/pdfs/sash_stickers_cs.pdf] | Links to Sustainable Development Goals: 9, 12
Fume cupboards and biosafety cabinets (BSCs) | Maintenance of fume cupboards/BSCs | The lab must show compliance with H&S which requires that fume cupboards and BSCs are maintained in an efficient state in efficient working order, in good repair and in a clean condition by making testing certificates available and visible. Where appropriate, ensure there is an up to date (within last 14 months) filter cleaning and replacement plan. | The auditor will require evidence of in-date certificates and checks done on fume cupboards/BSCs to ensure they are in good working order. Interviews with lab users will demonstrate knowledge and processes for regular cleaning and correct selection of filter types. | Fume cupboards/BSCs are designed to protect the lab user from exposure to harmful chemicals and biohazards. We must ensure that the fume cupboard/BSC prevents the release of dangerous levels of contaminents into the surrounding laboratory area by regular containment testing. The correct filter must be used for the type of research undertaken in the fume cupboard/BSC and the filter must be changed regularly and in accordance with the level of usage. This protects the lab user from exposure to hazardous chemicals and biohazards. In-date fume cupboard and BSC testing certificates must be available. If an up-to-date certificate is not attached to your fume cupboard/BSC, contact your local technical team who should be able to provide the current certificate. They should be able to inform you of the expected date of the next containment test. If not overseen by your lab, your H&S Officer should be able to provide you with details about fume cupboard/BSC care as well as a departmental maintenance strategy. | Links to Sustainable Development Goals: 3, 9, 12
Cold storage | Efficient use of cold storage space | Racking and/or boxes should be used to appropriately organise samples and efficiently use space. If necessary use polystyrene boxes or ice packs to fill up empty space. | Photos and written/electronic records of what is in place will be submitted. Auditors will conduct spot checks of freezers for space usage. | Make use of solid (not wire) drawers in freezers to help organise contents, and keep them from falling out occasionally during door openings. This also helps the freezer contents maintain temperature during door openings. Cold storage is aided by increased “thermal mass” (a.k.a. more materials to keep temperature) to maintain low temperatures. Free space allows warm air to better enter when doors open, and accelerates the warming-up of samples. Similarly, solid materials maintain cold temperatures much longer than air itself, reducing energy consumption by the freezer. | Links to Sustainable Development Goals: 9, 12
Cold storage | Air flow around freezers | Ensure each ULT freezer has at least 15cm of space around it to help remove the heat generated and avoid overheating of their motors. Ensure ULT vents are clear so they can draw in and expel air. Ensure air handling and temperature control systems are set up accordingly. | Auditors will tour the lab to check that ULTs are stored and positioned correctly. | Boxes should not be stored on top of ULTs. Please ensure that you get assistance with moving any objects from the top of ULTs. Contact your Lab Manager, SRS contact or Estates Team if you think that the heating, ventilation and cooling system in the room needs adjusting. | Links to Sustainable Development Goals: 9, 12
Chemicals and gases | COSHH assessments | COSHH assessments should be completed for all hazardous substances within your lab and these must have been reviewed within the last year. | COSHH assessments and the date of the most recent review will be inspected. All chemicals should also have associated MSDSs (Material Safety Data Sheets) that are readily accessible to the laboratory. The chemical inventory (if present) will reflect the COSHH assessments. | Having up-to-date COSHH risk assessments is a legal requirement. COSHH risk assessments focus on identifying the hazards and risks from hazardous substances in the workplace. Example COSHH forms can be found here: [https://www.ed.ac.uk/health-safety/guidance/hazardous-substances/coshh]. MSDSs can be found for free online: [http://www.msds.com/]. | Links to Sustainable Development Goals: 3, 9, 12
Scientific equipment | Timer controls on equipment | All unused equipment should be turned off before you leave the lab. But what do you do if you need something to be at a certain temperature when you come back in the morning? Use a timer. They are an easy, convenient way of turning on equipment at a particular time so that it is ready when you need it. Alternatively "Advanced Power Strips" shut down power to products that go into standby mode. | Auditors will check that energy saving devices are being used where appropriate, e.g. automatic timers, power strips with master switch, and APSs. | Products in standby mode still draw power when plugged into conventional outlets, and they consume more energy than you might think - known as a 'vampire load'. Guidance on the type of advanced power strips is available here: [http://www.nrel.gov/docs/fy14osti/60461.pdf]. Contact the SRS department or your technical team to obtain timers, particularly for equipment that lacks an inbuilt timer. | Links to Sustainable Development Goals: 9, 12
Scientific equipment | Large equipment servicing | The laboratory should undertake regular (at least annual or following manufacturer suggestions) documented, checking and servicing of large equipment. | Auditors will view reports or documentary evidence of this taking place within the last 12 months. NB This can be done by either in house staff or by external contractors. | Regular maintenance and servicing of large equipment helps the equipment run more efficiently in terms of energy consumption, increases lifespan and reduces the chance of breakdown. Contact your laboratory technical team for current service contracts. | Links to Sustainable Development Goals: 9, 12
Water | Disposal of liquids via drains | Check what currently goes down the drain within the lab and ensure that no hazardous materials are discharged to drain. Ensure that SOPs for waste disposal are accessible to all lab members. Ensure lab users are aware of what can and cannot go down the drain and that best practice is followed. | Auditors will look for: documentation of any checks that have been carried out; communications to lab users through inductions, signage, emails, posters, training. | It is an important responsibility of all research workers to ensure the safe and correct disposal of all waste produced in the course of their work. Improper and irresponsible disposal of chemical wastes down drains, to the Local Authority refuse collection, or into the atmosphere is forbidden by law. | Links to Sustainable Development Goals: 6, 9, 12
Water | Communications about water efficiency | Raise awareness of the related cost and environmental issues of considerable water use among laboratory users. All lab users should be encouraged to efficiently use water during inductions and training. | Auditors will view evidence of policies and actions, e.g. stickers, training and view procedures for reporting leaks and floods. Interviews with lab user(s) on their awareness of water usage will also be conducted. | Water is often taken for granted in the laboratory setting and raising awareness of environmental impacts and water-saving methods is the first step in reducing consumption. | Links to Sustainable Development Goals: 6, 12, 13
Waste and recycling | Communications about waste disposal | Ensure there are clearly and consistently labelled lab waste stream and recycling posters. | Auditors will view posters. | Signage helps to both inform and remind lab users about best behaviour. Contact the Department for SRS, your local lab technical team, or the University's Waste team to obtain posters and guidance on improving waste streams and recycling. | Links to Sustainable Development Goals: 9, 12, 13
Waste and recycling | Communications about recycling | Communications to staff should be provided on what can and can’t be recycled and any problems found with segregation should be highlighted. Opportunities for training should be shared with all staff. | Emails/minutes/evidence of communications to staff. | Due to different regions and organisations often having varying waste and recycling systems, confusion often occurs. It is imperative that lab users are aware and confident of what they can recycle and how to do it. Contact the Department for SRS, your local lab technical team, or the University's Waste team to determine what can and can't be recycled, and that recycling instructions reflect this information. | Links to Sustainable Development Goals: 9, 12, 13
Waste and recycling | Disposal of hazardous waste | A system must be in place to ensure hazardous (or otherwise) waste is not left to build up within labs, waste streams are appropriately segregated, and facilities are organised and well kept. Conduct spot checks to ensure compliance and identify problems at the earliest stage possible. | Photos/instructions clearly outline how hazardous waste is handled and stored. Controls and systems are in place to minimise build up and minimise risks. Auditors will inspect hazardous/special waste streams and conduct spot checks of waste bins to ensure no hoarding/overflows. | The build up of hazardous waste causes incompliance and health and safety concerns. If waste which is uncontaminated gets mixed in with other hazardous lab waste, it incurs costly and energy intensive waste treatment (e.g. autoclaving/incineration). Contact the Department for SRS, your local lab technical team, or the University's Waste team to discuss and develop effective waste management strategies e.g. provision of extra recycling bins. | Links to Sustainable Development Goals: 9, 12
Heating, ventilation and air conditioning (HVAC) | HVAC fault reporting | Ensure lab users are aware of indications of a faulty HVAC system and how to report them AND if the HVAC system has not worked to specification in the last 12 months, then there is evidence that laboratory users have made Estates aware of it. | Auditors will make personal observations (strong air flows through vents with no obvious reason / noticeable cool air temperatures) and interview lab user(s) to confirm knowledge of the reporting process and signs of HVAC faults. View evidence of communications or procedures for lab users to ensure practices are maintained. View records of any faults reported to Estates. NB It is obviously difficult for individual laboratories and their users to take action by themselves so the criteria is met if there is clear evidence that laboratory users have raised concerns with Estates, or are participating in a dialogue with them about improvement. | Possible signs of not working to specification are: • Frequent alarms on fume cupboard use • Known problems with ventilation equipment • Unpleasant working conditions for many users because of draughts and excessive cold or heat • Fume cupboards not functioning properly • Difficulty opening/closing doors because of pressure differentials. If any of the above indications are present report them to your Estates and Lab Technical teams. Air handling typically uses between 50-70% of energy consumption in laboratories so it is important that the system is functioning as it should be. Laboratories require certain air change rates, see this report for more information [http://www.aircuity.com/wp-content/uploads/Aircuity-White-Paper_Lab-Ventilation-ACH-Rates_Standards-Guidelines_ACHWP_20120103-2.pdf], and this is dependent on the type of research being conducted and the reagents/chemicals being used. | Links to Sustainable Development Goals: 9, 12
Lighting | Switch lighting off | Switch lighting off when not required. Communicate good practice via stickers, posters etc. | Auditors will view evidence of action, e.g. stickers on light controls. | Lighting left on unnecessarily consumes energy and lab users can often forget when leaving a room. Stickers reminding users to switch off lights are a good mental trigger. Contact the Department for SRS for stickers. | Links to Sustainable Development Goals: 12, 13
Awareness and training | Roles and responsibilities | Identify individuals or rotating roles to be responsible for key sustainability actions (e.g. those relating to energy, water, waste and materials). Ensure a lab member attends Sustainable Labs events when they are run by the Department for SRS. | Evidence of communication about roles and responsibilities and attendance at Sustainable Labs events. | Identifying responsible individuals helps to drive the initiative as well as enabling the lab to become part of the wider sustainability community at the University of Edinburgh. Ask the Department for SRS to ensure you are kept up to date about Sustainable Labs events. | Links to Sustainable Development Goals: 12, 13

## Silver (n=25)
Laboratory Area | Criteria | What to do | How you will be assessed | Further Information | Links to Sustainable Development Goals
Fume cupboards and biosafety cabinets (BSCs) | Switch off fume cupboards/BSCs when possible | Fume cupboards/biosafety cabinets should be switched off when not in use for extended periods, where it is possible and when safe to do so (e.g. no effect on pressure requirements). Communicate the procedure for turning off fume cupboards/BSCs to the group. Check with your technical team to ensure that the lab environment will be at a safe pressure and air change rate; your technical team can contact Estates for further advice. | Auditors will interview lab user(s) to ensure they know how and when they should switch off the fume cupboards/BSCs. The auditor will view evidence of capability, e.g. switches. NB If fume cupboards are VAV in groups with a centralised fan, then they must simply have sashes closed. 2-speed fume cupboards must be kept with sashes closed and in low-flow mode. | Fume cupboards (if operated inefficiently) can consume immense amounts of energy, particularly through ejecting air that has been conditioned through heating or cooling, thus it is important that they are turned off when not in use for long periods of time e.g. holiday periods. | Links to Sustainable Development Goals: 9, 12, 13
Fume cupboards and biosafety cabinets (BSCs) | Fume cupboard and BSC sashes are down when possible | All fume cupboard/BSC sashes should be closed when no one is working in them during normal working hours, as well as over night and during weekends. Communicate the importance of closing sashes whilst not in use, emphasize this should be both in the daytime and nighttime, reinforcing this message with appropriate signage on all hoods. Ensure users understand the benefits not only to energy but improved safety. | Auditors will conduct a visual inspection: are all sashes closed in cupboards not being used? View evidence of regular 'spot-checks' being undertaken of fume cupboards and evidence of follow up actions taken. Conduct interviews with lab user(s). | Fume cupboards consume around the same amount of energy as an average UK household. Shutting the sashes can reduce the energy consumption by 30-70% depending on usage. In the event of an explosion, a closed sash will prevent chemicals and other materials from entering into the lab. In addition, certain types of fume hoods, called variable air volume hoods, will consume less energy when the sash is closed. | Links to Sustainable Development Goals: 9, 12, 13
Cold storage | Defrosting / ice removal in all freezer types | The lab should regularly defrost all freezer types as when ice builds up this reduces storage space. Fortnightly ice scraping is recommended to avoid ice build-up and full defrosts are recommended on an annual basis. | Photos and written/electronic records of what is in place will be submitted. Auditors will conduct spot checks of ULT Freezers. | Regular defrosting increases storage space and prevents more serious problems arising due to long term build-up of ice. Ice build-up impairs freezer performance meaning more energy is used to maintain temperatures. Label fridges, freezers and ULTs with a best practice guide to encourage good practice (e.g. defrosting). | Links to Sustainable Development Goals: 9, 12, 13
Cold storage | Maintenance of cold storage devices (excl. LN2) | Ensure there is regular (at least annual) cleaning, maintenance/servicing of devices. This includes cleaning heat exchange coils on fridges and freezers, cleaning ULT freezer filters, and ensuring seals are maintained and not compromised. Develop a freezer maintenance schedule. | Auditors will interview lab user(s) and view evidence of a systematic approach to cold storage efficiency, e.g. maintenance records, inspection sheets. | As frost builds up on the evaporator coils the heat transfer rate in the freezer cabinet is decreased due to the insulating effects of ice. Similarly, the heat exchanger coils on the outside (usually rear) of the freezer should be cleaned to remove dust, which reduces their ability to operate effectively and efficiently. This means the compressor has to work harder and longer to maintain cool temperatures, wasting more energy. Accumulation of frost eventually damages the seals and the unit will struggle to remain at temperature, this can put your samples at risk and replacement of seals can be expensive (over £700 in some cases). Ensure your freezer or ULT door handle isn’t damaged, broken or absent. This can hinder safe and easy access of samples and increases the chance of the door not being fully closed or sealed . | Links to Sustainable Development Goals: 9, 12
Cold storage | Maintenance of liquid nitrogen vessels | Ensure all liquid nitrogen vessels are in working order and do not have any leaks, ice build-up or broken lids. Inspect your dewar lid and hose (if applicable) for any leaks or cracks. Listen for any sounds of gas or liquid escaping after the container has been filled. The presence of any ice build-up indicates a leak. Contact your technical team if a leak is present. | The auditor will conduct a visual inspection of the liquid nitrogen dewar(s). | A well-insulated and sealed dewar ensures less wastage of liquid nitrogen (an expensive resource). Leaks can cause H&S issues as nitrogen gas takes up 680 times the volume of the liquid and can cause asphyxiation. | Links to Sustainable Development Goals: 3, 9, 12
Cold storage | Purchase of cold storage devices | Energy consumption, size, and waste disposal costs of cold storage devices (fridges/freezers/ULTs) using whole life cost analysis has been incorporated into any new purchases within the last 12 months. Only cold storage devices which have low GHG potential refrigerants should be purchased e.g. Hydrocarbons, instead of CFCs or HFCs. Assess energy consumption, purchase cost (and disposal), and warranty provisions. Compare between multiple suppliers, and question the testing conditions from manufacturers. | Auditors will interview with lab user(s) and, possibly, procurement staff and look for evidence that energy costs were calculated and compared to overall costs for any purchases over the last 12 months. NB The selection of fridges and freezers can be limited by local factors, e.g. need to be spark free. | Recommend purchasing cold storage devices which have digital temperature controls and displays. Purchase appropriate racking for freezers and ULTs. For further assistance on energy figures, contact local energy/sustainability teams. Much laboratory equipment is used for many years, and its operating costs will therefore greatly outweigh the initial purchase price. Whole life costing calculations provide a means of quantifying and comparing these costs. | Links to Sustainable Development Goals: 9, 12
Cold storage | Emergency back-up freezers | The lab should posses or have access to a nearby back-up ULT and -20°C freezer in case of freezer failure. Multiple emergency contact details should be clearly listed. The back-up ULT freezer may be operated at -60°C or higher. In case of a ULT failure it is imperative that there is free freezer space to transfer critical samples into. It is important that the emergency freezers are emptied at the first possible opportunity, freeing them for further emergencies. | Photos/evidence of a back-up unit(s). The back-up unit must be empty in case of an emergency. Records should be maintained of times/dates of use and for whom. | Such freezers may also be used to decant during defrosts. Contact your technical team for details about the location and access to the emergency unit. Emergencies may occur out-of-hours so it is important that lab members know the protocol if such an event occurs. | Links to Sustainable Development Goals: 9, 12
Chemicals and gases | Spill training | At least 20% of lab members have recieved training on how to deal with spills. The responsible individual(s) who have recieved training should understand how to react in such a situation. Ideally there would be additional trained individuals in case of absence. | Evidence of training attendance. NB Such a session is relevant to all lab users but at least 20% of the group must have fully completed the training sessions. | Please contact your lab technical team to discuss implementing and promoting appropriate training sessions. | Links to Sustainable Development Goals: 3, 12
Chemicals and gases | COSHH assessment training | Ensure at least one ‘responsible person’ in your lab has received training on how to carry out COSHH assessments to ensure a thorough level of compliance when dealing with hazardous substances and that responsibilities are fully understood. | Evidence of training of at least one member of your lab group should be provided in the submission AND/OR during the audit. | Please contact your lab technical team to arrange training for an appropriate person. | Links to Sustainable Development Goals: 3, 12
Chemicals and gases | Safe and secure chemical storage | Ensure all chemicals are stored in H&S approved locations that are secure. It is essential to segregate incompatible substances. • Flammable substances are kept in flammable cupboards. • Solvents are kept separately. • Where appropriate they are stored in drip trays or bunded areas. | Storage facilities inspected during the audit. Evidence of a storage policy based on health and safety assessment(s). During the audit, interviews with lab users to check there are no problems with solvent evaporation in summer. Acids and solvents are stored separately and orders/disposal are recorded in a log book or similar. There is either a lock OR card entry required to access chemicals. NB This point can’t be awarded if chemicals are stored in fume cupboards or containment devices for prolonged periods as specialised vented storage is cheaper and safer. NB Chemicals may be contained in a central Chemical Store. | The improper storage or mixing of chemicals can result in serious incidents and injuries. Guidance on safe storage of chemicals can be found here: [http://www.nerc.ac.uk/about/policy/safety/procedures/guidance-chemical-storage/]. Contact your techncial team for further information or advice. | Links to Sustainable Development Goals: 3, 12
Scientific equipment | Minimise 'hoarding' of equipment | The laboratory should have a system in place to minimise ‘hoarding’ of unused equipment with no clear future application (e.g. use of WARPit), and has communicated this to their users within the last 6 months. Advertise your items through the relevant networks at your institute or actively seek a sale or disposal of such equipment. | Auditors will view evidence of activity (e.g. internal alert or exchange system, a ‘flea market’ table, regular campaigns) and evidence of communication to users within the last 6 months. | Surplus equipment takes up space and creates end of life waste. Using it elsewhere in the university or by other institutions can avoid these costs. | Links to Sustainable Development Goals: 12, 13
Scientific equipment | Sustainable options considered when choosing equipment | Energy costs should be calculated and compared to overall costs for any purchases. Purchase drying ovens with good temperature control and insulation. Check with Procurement or Department for Social Responsibility and Sustainability for more sustainable options and potential subsidies before purchasing lab equipment. | Evidence that energy costs were calculated and compared to overall costs for any purchases over the last 12 months. Evidence of correspondence to the procurement team or SRS. | The most sustainable options aren’t always the cheapest regarding initial purchase. SRS can quantify life cycle cost and in some cases offer a subsidy. | Links to Sustainable Development Goals: 9, 12
Scientific equipment | Use of energy saving modes on equipment | Ensure the lab uses energy saving modes on all equipment that has the feature available. | Lab users will demonstrate to auditors that the energy saving mode has been set for all possible equipment | Consult the manual or contact the supplier of the equipment for further information. Some equipment can’t be turned off but can run in modes that use less energy. This places less strain on the equipment and can increase lifespan. | Links to Sustainable Development Goals: 7, 9, 12
Scientific equipment | "Switch off" stickers/signage | Ensure at least 80% of equipment has a ‘Switch me off’ or appropriate sticker attached to encourage efficient usage. The lab should have an end of day switch off checklist in use. | Auditors will inspect switch me off stickers and signs. | Labelling instruments with a start-up/shut-down procedure ensures that equipment is turned off properly when it is not in use. Leaving equipment on unnecessarily can shorten its lifespan and wastes energy. Contact SRS to obtain 'switch off' or similar stickers. | Links to Sustainable Development Goals: 7, 12, 13
Scientific equipment | Equipment is switched off when possible | Ensure all equipment that can be, is turned off or powered down when not in use, together with related devices (e.g. AC/DC converters). Inform all lab members of the best practise and conduct spot-checks throughout the year. NB Care must be taken to establish what can be switched off and what cannot. | Auditors will: conduct a visual inspection of equipment (including IT) to see whether items are: • running unnecessarily and to check that plugs/off switches are easily accessible • conduct interviews with lab user(s) • inspect evidence of spot checks • review the metered energy data for the lab if available to see energy savings. | Chilled centrifuges, ovens, and heating blocks all require a set temperature when in use. Maintaining a set temperature, whether hot or cold, requires a lot of energy. Turning off these types of equipment when they are not in use can save a significant amount of energy. Turning off your chilled centrifuges and ovens saves equivalent amounts of energy as turning off one ULT, about 15 kWh/day. Heating blocks left on at high temperatures also pose a risk to anyone working in the lab and should never be left on. | Links to Sustainable Development Goals: 7, 12, 13
Water | Appropriate sizing and loading of water-using equipment | Survey current water-consuming equipment and assess the efficiency of loading processes. Create the most efficient system that suits the function of your research. If purchasing new equipment, ensure you’ve thought about the following points: the size and quantity of your load; the frequency of loads and; the available space in your lab. | Auditors will make a visual inspection of relevant equipment, and interview lab user(s). The lab is expected to demonstrate that: 1) any equipment bought in the last 12 months has been considered for the expected loads 2) lab users collaborate and communicate to ensure all loads are as full as possible. NB In some cases this will be achieved through central provision of equipment. | Water-using equipment such as glass washers, sterilisers and water baths consume significant amounts of water. It is more efficient to make sure that the equipment is full when operated. Ensure all water baths have lids fitted when used, to retain heat, retain steam/water, and save energy . | Links to Sustainable Development Goals: 6, 9, 12
Water | Closed-loop cooling water systems | Check if current practices are wasting water e.g. tap-to-drain. Contact your Technical team and SRS for potential solutions such as replacing it with chiller(s) or waterless condensers. | Auditors will inspect recirculation processes to ensure there is no running water acting as a coolant. | Once-through cooling can consume significant amounts of water of around 130L/hour. | Links to Sustainable Development Goals: 6, 9, 12
Waste and recycling | Appropriate waste and recycling disposal streams | Ensure there are convenient facilities for ALL of the following to be collected within the lab or at a suitable designated area where appropriate: • Chemical Waste • Medical / Pharmaceutical Waste • Laboratory Clinical Waste • Sharps boxes • ‘other’ containers such as biobins • Clean paper and cardboard • Clean plastics (including tip boxes and polystyrene) • Clean glass and Pyrex • Clean metals. Ensure all bins are clearly labelled. Investigate and make use of any available supplier return schemes for packaging and consumables. | This credit can only be achieved if there are facilities for all of the following: • clinical waste (if generated) • hazardous waste (if generated) • cardboard/paper • glass • plastics • polystyrene • Pyrex • metals Auditors will inspect systems in place during the audit. | As well as chemical and biological waste, labs create large amounts of recyclable solid waste, including equipment at the end of its useful life, packaging and consumables. It is important that there are recycling facilities readily available for as many waste streams as possible. Contact the Department for SRS, your local lab technical team, or the University's Waste team to discuss and develop effective waste management strategies. | Links to Sustainable Development Goals: 12, 13
Waste and recycling | No mixing of waste streams in practice | Ensure all different waste streams are segregated to improve recycling rates and reduce cross contamination. | Evidence of regular spot checks of waste streams (photos and/or documentation). Auditors will inspect separation of waste streams. | Hazardous waste has to undergo special treatment rendering it more expensive to dispose of, and less of it can be recycled compared to non-hazardous waste. You can unpack purchased items as much as possible before taking them into the lab. This may not apply to category II and category III labs due to contamination risks, though local assessment is required. Remember many plastics can potentially be recycled, including films and wraps, so discuss with your technical and Estates Team the development of recycling processes for this material. | Links to Sustainable Development Goals: 12, 13
Waste and recycling | Polystyrene boxes | Ensure polystyrene sample boxes are re-used in the lab or returned to sender if possible. | Evidence required that boxes are reused. | Reusing is better for the environment than recycling as it lengthens the product’s life and keeps it out of the waste stream. New England Biolabs [https://www.neb.uk.com/news/the-neb-shipping-box-recycling-programme] and Promega provide free-post return labels. These can be returned through the usual Royal Mail service by giving the box to the estates assistants or contacting your technical team for advice. Contact the Department for SRS to help apply pressure to other suppliers to implement this scheme. | Links to Sustainable Development Goals: 12, 13
Heating, ventilation and air conditioning (HVAC) | HVAC noise | Ensure equipment noise does not cause significant annoyance or discomfort to users over prolonged periods, and if the noise relates to air conditioning/heating, Estates have been made aware of it. Communicate to lab users why it is important to report high levels of air handling noise and how to do so. | Auditors will: • Interview lab user(s) • Make personal observation(s) • View evidence of procedure for reporting issues and record of responses NB Users often become habituated to surprisingly high levels of noise so if personal observation suggests that it is unusually high or annoying, check with more than one user if possible. | Noise can be an indicator of inefficient operation, and is disturbing to lab users, with effects on performance. | Links to Sustainable Development Goals: 3, 12
Lighting | Lighting switch off | Ensure all room lighting is always turned off when not required (and meets safety requirements). You could achieve this by: • communicating in the form of signage and posters • reminders in lab meetings or emails • appointing a responsible person (who typically leaves the lab late) to turn off lights • conducting your own spot checks/audits throughout the year | Provide evidence of spot checks and auditors will conduct spot checks to check lights are off when room is empty for extended periods. | Lighting can consume up to 15% of laboratory electricity. Lights are often left on (sometimes all night) when areas are not being used. | Links to Sustainable Development Goals: 7, 12, 13
Lighting | Lighting controls | Assess whether it is feasible for your laboratory to have lighting timer controls or motion sensors installed and implement if so. | Auditors will require evidence of correspondence with a lighting engineer/Estates/Building manager. | Lighting controls enable lighting to be set to lower levels in areas that don’t require constant bright lighting. Motion sensors remove the potential for lab users to forget to turn off lights when they leave. Contact the Department for SRS, Estates and/or your lab/building Technical Team to explore the possibility of introducing motion sensing lighting. | Links to Sustainable Development Goals: 9, 12
Awareness and training | Inductions include sustainability | Ensure the lab has in place a process to include a brief section on sustainability within inductions for all new starters. | Auditors will interview lab user(s) and view systems in place. Records should be present of anyone who has been inducted and informed about Sustainable Lab practices. | Inductions and other materials can be found here: [https://www.ed.ac.uk/sustainability/staff/advice/laboratories/resources] To achieve a sustainable lab there must be sustainable behaviour. New lab users must learn what those behaviours are and why they’re doing them. Include cold storage and fume cupboard best practice in inductions/training. | Links to Sustainable Development Goals: 4, 12, 13
Awareness and training | Lab moves / exit procedures | Ensure the lab has in place a process for lab moves and exits. | Auditors will interview lab user(s) and view systems in place. Records should be present of anyone who has moved labs or left the University. | Exit proforma can be found here [https://www.ed.ac.uk/sustainability/staff/advice/laboratories/resources]. It is commonplace for old equipment, consumables, samples and chemicals to get left behind during lab moves and exits. Lack of ownership can result in them hanging around for months or even years, taking up space and sometimes energy. | Links to Sustainable Development Goals: 12, 13

## Gold (n=37)
Laboratory Area | Criteria | What to do | How you will be assessed | Further Information | Links to Sustainable Development Goals
Fume cupboards and biosafety cabinets (BSCs) | Use of UV sterilisers in BSCs | Ensure UV sterilizers are only left on for 30 minutes at most in tissue culture hoods (unless exceptional circumstances). Many recent models of tissue culture hoods have timers on them to ensure that the UV light is turned off after 30 minutes. If your hood doesn't have a built-in timer consider speaking with your technical team or SRS to see if there is a way to put one on externally. Communicate the rationale and the best practise to the lab group as well as inform new members of staff and students during inductions. | Auditors will conduct interviews with lab users, and look for signage indicating good practice. Auditors will view any correspondence with lab users and induction documentation. | Leaving UV on for longer can lead to the breakdown of any plastics in the hood and wastes money through excess energy and purchase costs. | Links to Sustainable Development Goals: 12, 13
Fume cupboards and biosafety cabinets (BSCs) | Sash closure campaign/competition | The lab should run a sash closure awareness campaign and/or competition for fume cupboard good practice. Contact your laboratory technical team or Department for SRS to discuss running a 'shut the sash' competition, consider offering prizes to the floor/group who performs best in the competition. The Department for SRS may be able to offer funding support for incentives. | Auditors will check past competition results and inspect the lab for awareness raising materials. | Campaigns and competitions are an effective way of raising awareness. They can also save a significant amount of energy, as seen at Harvard University: [https://green.harvard.edu/news/new-kind-shut-sash-competition]. | Links to Sustainable Development Goals: 9, 12, 13
Fume cupboards and biosafety cabinets (BSCs) | Investigate energy saving opportunities related to ventilation | Ensure any new purchases of BSCs/MSCs/Class IIs have low energy consumption. New Fume Cupboards should be VAV, not CAV, and should be low flow with auto sash closers. The lab should engage Estates or SRS about energy saving opportunities around ventilation, such as CAV to VAV upgrade, low-flow fume cupboards, or reducing the opening of fume cupboard sashes (by ~10cm). | Auditors should interview relevant lab members on enagement with such projects. Should they have not been deemed feasible, discuss why. Only identifying fume cupboard projects but not actioning them is insufficient to achieve this criteria. | Even new facilities may have significant opportunities. There are a variety of projects possible surrounding your labs fume cupboards. Engaging with Estates can act as a catalyst for massive energy savings as well as improved working conditions. Projects may vary, but many revolve around reducing air-flow. In addition to engaging with the Estates and Sustainability teams, ensure any purchases of new fume cupboards include energy efficiency as a key factor during procurement. | Links to Sustainable Development Goals: 7, 9, 12
Fume cupboards and biosafety cabinets (BSCs) | Fume cupboard spot-checks | Conduct monthly audits of fume cupboards to check if any sashes are open when not in use. Assign the tasks to willing lab members, and note monthly results on sash closure, operational state (on, off, low-flow, lights on/off), and if there are left over materials inside. Communicate the results with the lab and make sure to provide rewards for good-practice. Such spot-checks should engage positively as opposed to incurring punishment. | The auditor will want to see records of audits carried out and the findings as well as evidence of how any issues were rectified. | Behaviour change needs to be monitored over time to determine progress. Consistent long-term spot checks are a good way to measure this in your laboratory. Waste disposal bottles left in the hood disrupt air flow and can put users at risk. Contact the Department for SRS to help calculate potential savings related to good use of fume hoods. | Links to Sustainable Development Goals: 12, 13
Fume cupboards and biosafety cabinets (BSCs) | Ventilated chemical storage | Ensure fume cupboards are not used as chemical storage cupboards for prolonged periods (i.e. longer than the length of the set-up and conducting of an experiment). Chemicals should be stored in specially designed ventilated cabinets. Ensure no materials are blocking vents or airflow. Inform all lab users during inductions and remind during lab meetings. Conduct occasional spot checks. Ensure that all possible items are moved to the rear of the cupboard/cabinet or removed completely when not in use. During an experiment users should not block the front of the fume hood with equipment. | Auditors will conduct a visual inspection confirming that ventilated storage cabinets separate from fume cupboards are provided where appropriate, and actually used in practice. Interview with lab user(s). | Storing chemicals in fume cupboards interferes with the air flow and can cause hazards if potentially incompatible chemicals are stored near to one another. It could cause a potential explosion. The only chemicals that should be stored in fume hoods are those that require ventilation and when not in use should be stored in ventilated cabinets close to the fume hood. If your lab does not have ventilated cabinets contact your local building technical team, the Department for SRS or Estates. | Links to Sustainable Development Goals: 3, 9, 12
Cold storage | Cold storage temperatures | All stored samples and materials are stored at the highest feasible temperature for effective preservation. This includes considering operating ULT freezers at -70C or -75C. Ensure freezers and fridges are not operating colder than necessary. Fridges should be set to 4C. Also consider room temperature sample storage techniques for archived DNA, RNA, or for shipping without dry ice. Question the necessity of colder temperatures and please see the Freezers Best Practice guide here: [https://www.ed.ac.uk/files/atoms/files/lab_case_study_-_freezers_best_practice.pdf] and energy impacts here: [https://www.ed.ac.uk/files/atoms/files/efficient-ult-freezer-storage.pdf] | Auditors will view evidence of written policies/guidance on storage temperatures for common sample and material types. Spot checks of sample type and storage location for fridges/freezers/ULTs will be conducted during the audit. | Operating ULT freezers at -70C will improve equipment lifespan and save up to 30% in energy consumption, while operating at -75C can save up to 14%. Also room temperature storage for nucleic acids can be a cost-effective way of storing samples for the long term. Room temperature storage not only saves energy, but samples are no longer at risk if a freezer fails. A study conducted at Stanford University can be seen here: [https://sustainable.stanford.edu/sites/default/files/documents/Stanford_Room_Temp_Pilot_May09.pdf]. Ensure you know what temperature your fridge and freezer (not ULT) are set to, and ensure it’s the right temperature. You may need to use an additional thermometer to find out. You should set the temperatures to +4C for fridges and -20C for freezers unless you have specific scientific / sample preservation reasons not to. Freezers operating colder than -20C use 3-6% more energy per degree C, and also contribute more heat into labs, increasing HVAC costs. | Links to Sustainable Development Goals: 7, 9, 12
Cold storage | Removal of redundant samples from cold storage devices | The lab carries out regular (at least annual) clear-outs of unnecessary samples/materials, or has a system in place to ensure removal. Each person should be responsible for their own shelves/boxes. Any historic or inherited unknowns can be referred to the local technical team for further advice. | Photos/written records of checks that were conducted and evidence that samples were disposed of. Inventories for the contents of freezers are provided in the submission and inspected during the audit. | Historic samples that are often illegible or unviable can take up to 30-50% of the space in freezers, resulting in wasted energy and increased demand upon cold storage. Furthermore their labels can degrade with time, causing confusion and requiring excessive disposal techniques. | Links to Sustainable Development Goals: 12, 13
Cold storage | Share freezer space | Cold storage (ULT, fridge, freezer, LN2) space should be shared with a colleague (not in the same lab group) OR the lab has consolidated samples into as small a space as possible and offered any available space to others. Contact your technical team to enquire into spare freezer space throughout the department. | Photos of freezer showing labelling of different groups. NB If unfeasible to provide photos there should be evidence of enquiries into sharing between lab groups via email/interviews. | Sharing space with a colleague is a great way to cut down on the total number of freezers in a department or institution. Reducing the number of freezers leads to a reduction in overall energy consumption. | Links to Sustainable Development Goals: 12, 13
Cold storage | ULT material labelling/inventories | One of the following options must be in place in ULT freezers: EITHER All cold-stored materials are clearly labelled and tracked (inventoried), and are associated with active uses. OR There are active measures in place to set up clear labelling systems. | There is a tracking system/log, which should be both on the ULT itself and at a separate location (physical or virtual) that can be accessed in the event of fire or other emergencies. This inventory should track the details, expected disposal date and location of all stored materials in the ULTs. OR Evidence of measures in place that aim to have a labelling system for all samples. To gain this credit it is essential that there are no 'unclaimed' samples being stored. Auditors can test the system by selecting some samples and seeing if they are recorded properly, or vice versa. | Keep an inventory of ULT contents and regularly audit freezer contents, remove materials where the owner has left or are otherwise no longer needed. Update the inventory after such a clear out. This helps to avoid the need for purchasing (and finding space for) extra freezers, while also clearly showing where items are located, meaning freezer door opening times are reduced (saving energy and protecting contents). You can develop your own inventories using spreadsheets or there are a wide variety of software packages online. In ULTs often ⅓ to ½ of the total samples stored are unnecessary, unowned, unviable or unlabelled. | Links to Sustainable Development Goals: 9, 12, 13
Cold storage | Fridge and -20 freezer material labelling/inventories | One of the following options must be in place in fridges and -20°C freezers: EITHER All cold-stored materials are clearly labelled and tracked (inventoried), and are associated with active uses. OR There are active measures in place to set up clear labelling systems. | There is a tracking system/log, which should be both on the fridge/freezer itself and at a separate location (physical or virtual) that can be accessed in the event of fire or other emergencies. This inventory should track the details, expected disposal date and location of all stored materials in the cold storage devices. OR Evidence of measures in place that aim to have a labelling system for all samples. To gain this credit it is essential that there are no 'unclaimed' samples being stored. Auditors can test the system by selecting some samples and seeing if they are recorded properly, or vice versa. | Keep an inventory of fridge and freezer contents and regularly audit contents, remove materials where the owner has left or are otherwise no longer needed. Update the inventory after such a clear out. This helps to avoid the need for purchasing (and finding space for) extra devices while also clearly showing where items are located, meaning freezer door opening times are reduced (saving energy and protecting contents). You can develop your own inventories using spreadsheets or there are a wide variety of software packages online. Lab fridges and freezers often become disorganised and full of old samples which cause the equipment to run inefficiently and ultimately shortens the lifespan of the unit. | Links to Sustainable Development Goals: 9, 12, 13
Cold storage | LN2 material labelling/inventories | One of the following options must be in place in liquid nitrogen dewars: EITHER All cold-stored materials are clearly labelled and tracked (inventoried), and are associated with active uses, OR There are active measures in place to set up clear labelling systems. | There is a tracking system/log, which should be both on the dewar itself and at a separate location (physical or virtual) that can be accessed in the event of fire or other emergencies. This inventory should track the details, expected disposal date and location of all stored materials in the dewars. OR Evidence of measures in place that aim to have a labelling system for all samples. To gain this credit it is essential that there are no 'unclaimed' samples being stored. Auditors can test the system by selecting some samples and seeing if they are recorded properly, or vice versa. | Keep an inventory of contents and regularly audit, remove materials where the owner has left or are otherwise no longer needed. Update the inventory after such a clear out. This helps to avoid the need for purchasing (and finding space for) extra storage while also clearly showing where items are located, meaning hatch opening times are reduced (saving energy and protecting contents). You can develop your own inventories using spreadsheets or there are a wide variety of software packages online. Quick tip: keep active samples in easily accessible locations. In liquid nitrogen dewars often ⅓ to ½ of the total samples stored are unnecessary, unowned, unviable or unlabelled. | Links to Sustainable Development Goals: 9, 12, 13
Cold storage | Cold storage device alarms | Ensure the laboratory has appropriate secondary alarming in place in case of failure, and temperatures are monitored. There is a clear system in place such that any freezer alarm merits an appropriate reaction, and instructions are indicated in freezer rooms. NB This does not include the in-built ULT alarm. Contact your department’s technical team to enquire about existing systems. Alarm systems such as T-SCAN [http://www.t-scansolutions.com/) provide protection as well as long-term temperature data logging. | Auditor will view the alarms on ULTs along with any other related software. | Alarm systems ensure that in the event of a power failure or ULT break-down the owner will be informed, so the loss of samples can be avoided. | Links to Sustainable Development Goals: 9, 12
Cold storage | Replacement of inefficient ULT freezers | Ensure all ULTs over 10 years old have had their energy monitored to assess possibility of replacing with a more efficient model. | View any correspondence or invoices showing research and procurement of the most efficient units. The energy usage/output of the old ULT should be recorded so as to make cost and energy saving comparisons with the new efficient unit. | An old ULT can cost £400-£1200 more per annum than a new, efficient model. They also require more frequent repairs and are more likely to fail. Information and example guidance on sustainable procurement and replacement of ULTs can be obtained from the Department for SRS. | Links to Sustainable Development Goals: 9, 12
Cold storage | Allocation of responsibility for freezer maintenance | Allocate a freezer manager in charge of general maintenance issues (defrosting, purchasing, maintenance, alarming, possibly sample management). Discuss with users if anyone is interested or already responsible for relevant tasks. Ensure there is continuity for the role, and requirements are defined but not excessive. Such a role should not interfere with research requirements, but may formalise good practice already in place. Multiple people may be required if your lab has an abundance of cold storage. | Freezer manager has been identified and they can explain and have evidence of their duties during the audit. | Allocating a freezer manager means problems with the freezers are managed efficiently and freezers are less likely to fall into disrepair. | Links to Sustainable Development Goals: 9, 12, 13
Chemicals and gases | Green Chemistry | Green chemistry principles and alternatives have been discussed and considered, and implemented where possible AND there is signage of the 12 Principles of Green Chemistry. | Interviews with lab users to determine knowledge of green chemistry and photos/evidence of signage will be inspected. | Green chemistry refers to the design of chemical products and processes that reduce or eliminate the consumption of energy, water and materials and the generation of hazardous substances. Lab users must be aware of the reason for substitutions and opportunities to do so. The 12 Principles of Green Chemistry can be found here: [https://www.acs.org/content/acs/en/greenchemistry/principles/12-principles-of-green-chemistry.html]. | Links to Sustainable Development Goals: 3, 6, 9, 12
Chemicals and gases | Solvent recovery | Ensure the lab takes part in a solvent recovery programme or practices in-lab solvent recovery where feasible. Contact your technical team if you think there is potential for an inter-departmental collaboration for recycling solvents or a similar scheme in keeping with The 12 Principles of Green Chemistry. | Auditors will view any asssociated documentation and interview lab user(s). | A case study from Columbia University: [https://research.columbia.edu/content/solvent-recycling] shows the benefits and achieveability of solvent recovery. | Links to Sustainable Development Goals: 9, 12
Chemicals and gases | Chemical container labelling | Ensure all chemical containers are labelled with details of contents, ownership, date opened/expectected expirary date, and hazard and emergency details, in a manner which can be understood by others if the ‘owners’ are not available. Containers may already have most of this information on the label. If not, or if it is no longer legible, a new label should be added. | Evidence of container labels and the system in place to ensure they are maintained. Auditors will request to see evidence that MSDS are available for all chemicals and accessible to all laboratory users. | Chemical and material usage can often be significantly reduced, with financial, H&S and environmental benefits. The latter includes avoided impacts from chemicals and materials production, and reduced volumes of waste. The starting point for almost all measures to achieve these benefits is knowing exactly what is in the laboratory. Labelling is a prerequisite for this, and of course is also important for H&S reasons. | Links to Sustainable Development Goals: 3, 12, 13
Chemicals and gases | Chemical management/inventories | A list of chemicals exists and is kept up to date. The inventory includes exact location and rough quantities fo each hazardous substance. AND (If applicable) a comprehensive list of controlled substances exists and is kept up to date. Processes for handovers of chemicals and reagents are in place and stipulated in an 'Exit Policy'. | Spot check of chemicals to ensure they are on the list/inventory during the audit. Inspection of up to date lists of controlled substances. Evidence of an 'Exit Policy' that explicitly mentions chemicals. | Chemical inventories help with: • policy compliance • reducing waste and associated costs • reduce purchasing costs from duplication avoidance • are safer due to improved storage practices • provide increased security (anti-terrorism and anti-theft) • improving research efficiency • ensures out-of-date chemicals are disposed of and therefore less risk in emergency situations. Contact your technical team to discuss existing and/or implementing chemical inventories. | Links to Sustainable Development Goals: 3, 12, 13
Chemicals and gases | Avoidance of chemical waste from over purchasing | Sharing unwanted chemicals reduces purchase costs, frees up space and decreases the chance of the chemicals evaporating or going out-of-date. Contact your technical team to discuss existing and/or implementing chemical sharing initiatives. | Evidence of chemical sharing/donating. This could be from interviews with lab users/website offers/emails. Past evidence of either using chemical inventory software to advertise chemical sharing OR a system in place in the lab/department to share chemicals. | Ensure the laboratory avoids accumulation of unwanted chemical stocks through communal purchasing, by making surplus chemicals available to other laboratories and/or by making purchases of appropriate quantities to reduce waste. | Links to Sustainable Development Goals: 3, 12, 13
Scientific equipment | Energy metering | Make an enquiry to SRS/Energy Office/Estates to find out if your lab is sub-metered. If your lab has been sub-metered ensure lab members know how to access and understand the data, and consider practical ways to reduce it. | Auditors will require evidence of emails to the Sustainability Officer OR If sub-metered the auditors will interview lab members and ask them to demonstrate their knowledge of the energy data software. | Understanding how much energy your lab uses is fundamental to creating a plan for improved energy efficiency in the lab. | Links to Sustainable Development Goals: 7, 9, 12
Scientific equipment | Appropriate sizing and loading of energy-intensive equipment | Ensure all energy-intensive equipment is ‘right sized’ for tasks and used with as high loadings as possible. | Auditors will interview lab user(s). Key indicators of right sizing are equipment being run regularly at high loadings. NB In some cases this will be achieved through central provision of equipment. | Many items of equipment (e.g. drying ovens, some autoclaves) have a base power consumption which means that their total consumption does not increase in line with loading. Hence, it can be more energy efficient to batch small jobs/loads, rather than running many times at low loadings, or to use smaller units more frequently. Consult with your lab technical team and relevant equipment manuals to determine efficient usage. | Links to Sustainable Development Goals: 7, 9, 12
Scientific equipment | Other specialist equipment | If you have specialist equipment not covered by the criteria, the lab has considered and implemented feasible techniques in reducing its waste, water, resources or energy. Discuss opportunities and ideas with your lab group and technical team in meetings. | Auditors will view equipment or procedure and interview lab user(s). | There will always be equipment or procedures that are too specialist to be featured on the framework, it is the nature of scientific research. | Links to Sustainable Development Goals: 9, 12
Scientific equipment | Equipment sharing | Equipment is shared wherever possible, e.g. between groups via a booking system. NB this only applies if it is with another lab group. Use WARPit or contact the Department for SRS for any wanted or available equipment shares. Alternatively ask your technical teams and School Faculty Managers for knowledge of available shares. | Auditors will expect: evidence of sharing of equipment; evidence of a digital or written system, e.g. an effective central list of shareable equipment, booking system for use of certain equipment OR correspondence and evidence of attempted sharing of equipment. | Equipment sharing maximises resources and space whilst sharing the burden of cost. | Links to Sustainable Development Goals: 9, 12, 13
Water | Use of purified water | Ensure purified water is used only when absolutely essential, and produced by reverse osmosis (RO) wherever possible. | Auditors will view water stills in use and conduct interviews with lab user(s). | In environmental (and economic) terms, distillation requires far more energy than RO. For example, producing 1 litre of distilled water typically requires 1.65kW of power and about 9 litres of cooling water; in comparison, producing 1 litre of RO permeate requires less than 0.1 kW of power and less than 5 litres of water. Further guidance on selecting the right water purification system needed for your research can be found here: [https://www.labmanager.com/business-management/make-every-drop-count-4975#.V2OwrrsrKUk]. Contact your technical team for further information. | Links to Sustainable Development Goals: 6, 9, 12
Water | Low flow taps | Ensure taps have low-flow aerators and they have been checked by the building manager for proper function. Low-flow aerators are less than 2.0gpm. Contact your Technical Team and Department for SRS to check feasibility. | Auditors will inspect low-flow aerators. | Low-flow aerators control the flow of water, thereby reducing water consumption. | Links to Sustainable Development Goals: 6, 9, 12
Water | Vacuum creation | Replace vacuum aspirators with membrane/diaphragm/oil-free pumps where feasible. | Evidence of vacuum pump in lab or of correspondence with the technical team or SRS. | Vacuum aspirators can consume nearly 15 litres of water per minute. A vacuum pump is often available for the same task, and using one will save 900 litres per hour. Contact the Department for SRS for recommendations and potential subsidies and funding. | Links to Sustainable Development Goals: 6, 9, 12
Water | Ice machines | Purchase an air-cooled instead of a water-cooled ice machine. Contact SRS to discuss measuring the water consumption and advice on how to adjust the ice machine settings. | Auditors will view correspondence with SRS and interview lab user(s). | The typical icemaker uses two or three times more water than needed to make the ice that is used. Units that are more water-efficient also tend to be more energy efficient. Contact SRS to discuss measuring the water consumption and check the user guide for advice on how to adjust the ice machine settings. | Links to Sustainable Development Goals: 6, 9, 12
Water | Appropriate sizing and loading of autoclaves | Right-size your autoclave when purchasing. If you don't need a massive autoclave, use a smaller one instead. Consider energy- and water-efficiency when purchasing autoclaves. Ensure autoclaves are operated in line with sustainable principles. Consolidate loads (i.e. don't run an autoclave to sterilise a single box of pipette tips). Consider sharing an autoclave with other lab groups. | Auditors will interview lab user(s) and view autoclaves and systems. | An autoclave/sterliser can use around 7000L/day of water dependent on usage (or 450L/cycle). Managing operative procedures better can significantly reduce the number of cycles we need to run it for. | Links to Sustainable Development Goals: 6, 9, 12
Waste and recycling | Sustainable consumables | Ensure that the laboratory has investigated (and if feasible, implemented) whether there are more environmentally friendly options for consumables (e.g. lab plastics), whether that be take-back schemes, or greener manufacturing and transport processes. | Evidence that environmentally friendly alternatives are being used or have been explored in the last 12 months. Evidence of correspondence to procurement and/or the laboratory suppliers with regard to environmental concerns will be inspected. | Our everyday purchasing decisions can have a large cumulative effect. Much packaging and in some cases containers, can be reused or recycled by suppliers. It is becoming more commonplace for both manufacturers and suppliers to seek greener solutions. Fisher Scientific UK [https://www.fishersci.co.uk/content/dam/fishersci/en_EU/environment/bottlecollectionguidance_low.pdf] is one example of an organisation that collects bottles and associated packaging from customers for reuse and has won an award for its lab chemical bottle collection, wash and recycling facility. Glove manufacturers are now offering recycling schemes, while Starlabs and other tip manufacturers will recycle tip-boxes. This criteria could also take the form of less carbon being used in the manufacturing and transport processes or through efforts to reduce packaging and waste associated with the product. | Links to Sustainable Development Goals: 9, 12
Waste and recycling | Plastic waste re-use/recycling | Ensure that EITHER the laboratory separates or washes out all its plastic consumables so they can be reused OR the laboratory decontaminates all its plastic waste and puts it into recycling. | Evidence of research and knowledge of lab plastic recycling schemes. Spot checks of plastic recycling rates will be conducted at the audit. | A large proportion of plastic waste that isn’t contaminated and non-hazardous still goes into hazardous waste bags and cannot be recycled. The University of Newcastle has commenced a programme where petri-dishes may be reused for bacterial cultures. | Links to Sustainable Development Goals: 12, 13
Waste and recycling | Surplus lab equipment | Ensure the laboratory supports and participates in mechanisms which allow surplus lab equipment to be reused at institutions outside of the University AND checks outside sources for equipment before purchasing brand new (if applicable). Should equipment not be reusable, it is recycled in line with WEEE regulations [https://www.sepa.org.uk/regulations/waste/waste-electrical-and-electronic-equipment-weee/]. | Auditors will view evidence of sourcing or provision of shared equipment e.g. an effective list of shareable equipment and/or booking system for use of certain equipment. | Reusing resources is an excellent way to be economical with research funding and also entails environmental benefits. We can also extend our reuse reach further than the university through equipment sharing within the local community. There are many examples of equipment sharing or donating between different research groups within the same building. Check out the national equipment sharing databases such as Kit-Catalogue: [http://www.kit-catalogue.com/projectpages/welcome-to-kit-catalogue/] and GW4 Equipment Sharing. Contact SRS to discuss other sharing schemes. NB It is important that issues of potential contamination are addressed in any such schemes. | Links to Sustainable Development Goals: 9, 12, 13
Heating, ventilation and air conditioning (HVAC) | Space ventilation sense checks | Check the following: • No heating and cooling is taking place in the same area simultaneously. • No large spaces being permanently ventilated or conditioned to a high specification in order to meet the needs of a small number of activities/devices/occasional users. Consider if the location of the equipment can be altered and do so if possible. In the case that this isn’t possible, contact your Lab Technical team and SRS to develop solutions to the problem. | Auditors will interview lab user(s) and Estates and check that: • No examples of heating and cooling taking place simultaneously, e.g. incoming ventilation air heated and then subsequently cooled (in freezer or server rooms). • No large spaces being permanently ventilated or conditioned to a high specification in order to meet the needs of a small number of activities/devices/occasional users. | Ventilation is often over-specified, either in original decisions or subsequently as a result of changing use. Concentrating activities which need high levels of ventilation or other special requirements (e.g. cooling of rooms with freezers in) into the smallest possible space can enable the freed up space to be ventilated at lower levels, or not at all. | Links to Sustainable Development Goals: 7, 9, 12
Lighting | Lighting in scientific equipment | Investigate replacement of mercury with LED low energy lighting for scientific tasks and implement or show you are planning to implement this wherever possible, e.g. in growth chambers, microscopy and plant growth rooms. | Auditors will conduct a visual inspection of the lighting and look at correspondence pertaining to arrangements to introduce LED lights. | LEDs require little maintenance and have a life of over 25,000 hours, equivalent to twelve times that of metal halide lamps. They operate at cool temperatures, do not degrade over time, and contain no mercury. Although the LED lamps are significantly more expensive their longer lamp life alone makes them cost effective. Contact the Department for SRS to find out if there are any initiatives/funding available. | Links to Sustainable Development Goals: 9, 12
Lighting | General space lighting | Ensure all luminaires are high efficiency ones, e.g. compact fluorescent lamps for task lighting, LED or T5 fluorescent lights (rather than T8 or T12s) for overhead lighting. | Auditors will inspect correspondence with Estates and/or a lighting engineer for fixed luminaires and view a sample of task lights. | Replacing fixtures with high efficiency ones can reduce energy consumption significantly. Contact the Department for SRS to find out if there are any initiatives/funding available. | Links to Sustainable Development Goals: 9, 12
Lighting | Lasers | Replace gas lasers (Ar, He, Ne) with solid state lasers wherever feasible. | Auditors will conduct a visual inspection and interview lab user(s) OR If unfeasible, inspect evidence of investigation by the lab users. | Solid state lasers are more energy efficient and last longer than gas lasers. Gas lasers also generate a lot of heat, requiring the rooms in which they reside to be kept much cooler than most other spaces, which can put a strain on the AC in the building. Contact SRS to find out if there are any initiatives/funding available. | Links to Sustainable Development Goals: 9, 12
Awareness and training | Sustainable labs outreach/networking | Participate in broader networks (within the institution or beyond it) which provide opportunities to discuss and take action on environmental issues. Consider hosting an open day for other members of the University to visit your lab and see your sustainability initiatives. | Auditors will look for evidence of mechanisms and lab involvement (e.g. a regular technicians meeting with environmental issues on the agenda; a special lab environmental group; a general Green Lab Leader/Member meeting; attendance at S-Lab and other external events with an environmental focus; attending Awards events for teams; contributing to the Awards Team Yammer group). Interview with lab user(s). | It can be empowering to laboratory technical staff to share experiences with peers on environmental (or sometimes other) issues, or to be aware of environmental initiatives in other labs. Contact the Department for SRS or your Technical Team to learn about initiatives at your institute and in the local area. | Links to Sustainable Development Goals: 8, 9, 13, 17
Awareness and training | Sustainable procurement | Ensure that EITHER at least one member of the lab group has attended Sustainable Procurement training OR relevant lab users have read and understood the principles of sustainable procurement. | Auditors will interview lab users and/or view evidence of training. | Sustainability begins with our purchasing decisions where we need to consider the life cycle cost and environmental impact of our equipment and consumables. Contact the Department for SRS to discuss options and training around sustainable procurement. | Links to Sustainable Development Goals: 9, 10, 12, 13

## SDGs
Lab Awards and the Sustainable Development Goals
The 17 Sustainable Development Goals (SDGs), part of the 2030 Agenda for Sustainable Development, were adopted by the United Nations and world leaders in 2015. By 2030, the SDGs aim to end all forms of poverty, fight inequalities and tackle climate change, while ensuring that no one is left behind.
Higher Education Institutions (HEIs) developed the Sustainable Development Goal Accord (SDGa), which the University of Edinburgh has signed up to. Through its research, learning and teaching, operations and community of staff, students and alumni, the University is committed to delivering these Goals with partners, including the Students' Association, both locally and globally. Contributing to the SDGs is a key part of the Social and Civic Responsibility focus within the University’s Strategy 2030.
The Sustainability Awards encourage action on a range of environmental and social issues, and each Awards criterion links to one of the 17 SDGs. These links are detailed in the Labs Criteria 2020 document, and you can learn more about each SDG here. By participating in the Sustainability Awards, you and your team will be directly contributing to helping achieve the SDGs.
The EAUC have collated further examples of how the SDGs can be embedded within Higher and Further Education institutions.